## Slide 1
Avian Influenza Investigation: Laboratory Algorithm
Surveillance (Healthy flock): Swab
(Sampling frame/Strategy)
Prepare Samples
# Do not pool >5 animals
** PCR (M)
e.g. † AAHL primers & probes
PCR (e.g. H5, H7 or H9)
e.g. † recommended regional SOPs e.g. AAHL/FLI
Virus Isolation (3 passages)
& HA
H Typing HI full titration
* (Specific H type
e.g. H5 or H7) & ND
Sick Animal or In-contact flock (Swab / Tissue)
Differential Diagnosis
(ND, IBD, DVE)
‡ H & N typing (Conformation)
‡ HA & N Gene Sequencing
Whole genome Sequencing (Optional)
REFERENCE LAB
Report
Diagnosis – use one or both tests, with
virus isolation positives also tested by PCR
Surveillance – start with PCR, then
isolate virus from positive sample
Report
Report
H typing
† PCR/Sequencing
Further
Characterisation
H & N typing HI
(H & N typing by PCR/Sequencing is the preferred method)
Further
Characterisation
NEG
POS
POS
NEG
NEG
POS
POS/NEG
NEG/POS
N typing † † .
† PCR/Sequencing
Further
Characterisation
Differential Diagnosis
(IBD, DVE)
* Where screening for H5 or H7 the antigens and antisera in the test must match the circulating H5 or H7 clade or strain. The antiserum used must be specific for the H type (Hyperimmune serum allows detection of all clades with the H type)
# Avoid pooling samples in the field whenever possible; where it is required for testing purposes, it is best done at the laboratory by combining a maximum of 5 similar samples per pool from the same sample type, species, and epidemiologic unit
**Screening flocks for all influenza viruses using PCR (M) is recommended where possible. Specific virus PCR can be used first e.g. H5 or H7 where a diagnosis is required for a specific virus in an emergency.
† Use recommended regional PCR primers & probe
‡ For confirmation of H & N type the isolate will need sequencing
(e.g. H7N9 from China or H5 clade 2.3.4.6)
PCR (e.g.N9, N6 or N8) e.g. † CNIC primers & probes
POS
POS
NEG
NEG

## Slide 2
ECTAD Asia and the Pacific (fao.org)
Guiding principles for the design of avian influenza active surveillance in Asia (fao.org)
Home - Offlu